## Slide 1
Great expectations:
poor results.History
of failures in endovascular therapy
Prof. Luigi Inglese
DIRETTORE MEDICO
DIPARTIMENTO MALATTIE CARDIOVASCOLARI
MARIA PIA HOSPITAL TORINO
"La complessità delle malattie in età adulta"
Incontri Pitagorici Cardiologia 2018
Crotone
12-13 ottobre 2018

## Slide 3
Nuove indicazioni
Insuccessi

## Slide 4
Renal Denervation for Resistant Hypertension
Notes: La necessità di denervazione renale ha trovato già negli anni venti come pioneri chirurghi spinti ad effettuare tecniche di denervazione , partendo da modelli animali in cui si dimostarvano netti risulati di riduzione della PA.Smithwick fu il primo ad eseguire la splanctectomia e la simpaticectomai renale, partendo dai risultai di altri studi preliminari che dimostrarono riduzione della PA e delle complicanze ad essa correlate.

## Slide 5
Central Sympathetic Nerve Activity
Muscle Sympathetic
Nerve Activity (MSNA)
Norepinephrine Spillover
Renal Sympathetic Nerve Activity

## Slide 6
Point-by-Point System vs OneShot™ System
Helical Ablation Pattern

## Slide 7: Symplicity HTN-1
Initial Cohort – Reported in the Lancet, 2009:
First-in-man, non-randomized
Cohort of 45 patients with resistant HTN (SBP ≥160 mmHg on ≥3 anti-HTN drugs, including a diuretic; eGFR ≥ 45 mL/min)
- 12-month data
\
Expanded Cohort – This Report (Symplicity HTN-1in the Hypertension, 2011:
Expanded cohort of patients (n=153)
24-month follow-up
Lancet. 2009;373:1275-1281
7
Hypertension. 2011;57:911-917.
Notes: 7

## Slide 11: Hypothesis by P.Zamboni : CCSVI is responsible of clinical MS progression and of its sypmtoms . PTA of stenotic venous valves should ameliorate symptoms and delay its progression.
Chronic Cerebro-spinal Venous Insufficiency
Chronic Cerebro-spinal Venous Insufficiency (CCSVI) & MS

## Slide 13
Extravertebral
main pathways
Intercostal veins
Ileo-lumbar v
Ascend. Lumbar v
Reno-azy-lumb v
Azygous
Hemiazygous
Acc. hemiazygous
Sup. intercost veins
Vert. Art. plexus
Sacral veins
Int. Vertebral plexus
C
T
L
S
IJVs
Extracranial main
pathways
ANATOMIA
(dove?)

## Slide 14
pre
pre
post
Obliqua 50°
Obliqua 50°
ANGIODILATAZIONE
La PTA nel trattamento della CCSVI:
come ?

## Slide 17
Courtesy by Salvatore Spagnolo, MD

## Slide 18
Trattamento chirurgico
della stenosi delle vene giugulari

## Slide 19
PROGRAMMA SCIENTIFICO VEINLAND - ALBARELLA 16-05-2014

## Slide 20: TAVI: Expected Worldwide Growth
Source: Credit Suisse TAVI Comment – January 8, 2015. ASP assumption for 2024 and 2025 based on analyst model. Revenue split assumption in 2025 is 45% U.S., 35% EU, 10% Japan, 10% ROW
In the next 10 years TAVI growth is expected to increase x4

## Slide 21
The Edwards SAPIEN 3 Ultra System
Further Streamlines the TAVI Procedure
SAPIEN 3 Ultra
Delivery System
Axela Sheath
SAPIEN 3 Valve
On-balloon design - removes valve alignment step
14F compatible for all valve sizes including the 29mm
Pusher eliminated - reduces steps required during deployment
Seamless sheath design
CE Mark Approval Expected in 2H 2017
SAPIEN 3 Ultra System and Axela Sheath are not approved for sale.

## Slide 23
Key features of the Lotus Valve are conserved including:
Full Repositionability
Full Retrievability
Adaptive Seal™
New Features
Increased flexibility, trackability, and coaxial alignment
Enhanced delivery and
deployment
LOTUS Edge
Lotus
LOTUS Edge System
Designed to improve deliverability

## Slide 28
F. Giannini & Coll. JACC Cardiovascular Interventions Vol11, 8 , Apr.2018
Seattle Angina Questionaire (SAQ) reflects for best results the possible presence of a placebo effect

## Slide 31
It is a bare self-expandable device with a three-dimensional scheletal mesh made of metallic cobalt alloy wires interconnected in multiple layers
Cardiatis Multilayer Flow Modulator
designed to reduce velocity and pressure of flow vortex within the aneurysm improving laminar flow in the main artery and surrounding vital branches
it allows flow stasis and formation of an organized thrombus
Notes: According to the laws governing fluid dynamics, a fluid’s velocity must increase as it passes through a stricture to satisfy the conservation of mass, while its pressure must decrease to satisfythe conservation of energy

## Slide 32
Cardiatis Multilayer Stent is a self-expandable device with a tridimensional mesh made of metallic cobalt alloy wires interconnected in multiple layers: this structure allows the mesh layers number to adapt to diameter, morphology, dimension and course of the target artery
The delivery consists of a guided-catheter with a minimally traumatic soft tip 0.018” (maximum 0.025”) compatible.
The sheath is connected by a hemostatic Y valve to the delivery: when the valve is closed, the sheath is fixed to the support, as a safety lock.
A theoretical new option

## Slide 33
CARDIATIS MULTILAYER FLOW MODULATOR = “dynamic” barrier
can be deployed covering collaterals
without occluding them
can treat aneurysms regardless of their location, with or without side branches arising from sac or close to the neck

## Slide 34
2011
Endovascular:
deployment of two Cardiatis stents + distal CP stent
2012
CT control: persistent type I endoleak with slight increase of aneurysm sac volume, good patency of visceral vessels

## Slide 35
Endomed 34-20
Cardiatis 30-150
Cardiatis 40-100

## Slide 36
Possible explanation of endoleak
Rx strategy:
Open surgery?
Hybrid?
Endovascular?
Conservative Rx?

## Slide 37
Sept 29, 2012
CT control: persistent type I endoleak with slight increase of aneurysm sac volume

## Slide 38
DEBATE:
The Multilayer Stent Is Not Going To Work For The Treatment Of Complex Aneurysms:
Theoretical & Practical Considerations
Luigi Inglese, M.D.
Polyclinic San Donato - Milan - Italy

## Slide 40
TheAbbot AbsorbBioresorbable Vascular Scaffold ( BVS )

## Slide 44
-La Tecnologia è inarrestabile e entusiasmante
-Necessita di verifica clinica accurata e obbiettiva
- La tecnologia è sempre progressiva
-Ma la clinica qualche volta deve tornare
sui suoi passi
CONSIDERAZIONI

## Slide 45
GRAZIE PER L’ATTENZIONE